Commonwealth of Virginia

Department of General Services

Division of Consolidated Laboratory Services

Richmond, Virginia

Bordetella Pertussis PCR and Bacterial Culture Testing at DCLS

SPECIMEN COLLECTION KITS:  
Bordetella pertussis kits are prepared by DCLS and may be ordered by emailing DCLS_SSSKits@dgs.virginia.gov. Upon order receipt, kits will be shipped within 3 business days.
 Kit Contents:
· 1 - Specimen Collection Instructions form for Bordetella pertussis PCR and Bacterial Culture Testing at DCLS (16859)

· 1 - Sterile Viral Transport Media (VTM broth). Store at 2º– 30˚C (36-86˚F).  Do not use if turbid. 

· 1 - Sterile flocked (plastic) swab applicator (NP)****  

· 1 - Regan-Lowe transport media (stored at 2-8°C prior to use)****
· 2 - Calcium alginate swabs in a paper sleeve for bacterial culture

· 1 - Compartmental bubble pouch
· 1 - Large, sealable, biohazard plastic shipping bag with pouch (with absorbent pad)

· 1 – DCLS Test Request Form (16857)
****Nasopharyngeal flocked swabs, viral transport media, and Regan-Lowe transport media have expiration dates.  Please verify that the items have not expired prior to sample collection.

	INSTRUCTIONS FOR sample COLLECTION 


1. Samples should be collected within four weeks of symptom onset.

2. Refer to the diagram below for the insertion of swabs into posterior nasopharynx.  
3. [image: image1.png]


Simultaneously insert one calcium alginate and one flocked swab into the posterior nasopharynx of the right naris and rotate gently. Contact time should be 15-30 seconds or until the patient coughs.
4. Insert the calcium alginate swab into the Regan-Lowe Transport Medium; fold the excess shaft of the swab into the tube and recap.  
5. Label the Regan-Lowe transport media with two patient identifiers, including patient name. 

6. Place the flocked swab into the tube containing Viral Transport Media.

7. Label the plastic tube with two patient identifiers, including patient name.
8. Repeat steps 1-5 for the left naris with another calcium alginate swab and place into the same Regan-Lowe Transport Medium as the right naris. 
9. Refrigerate samples at 2-8°C until packaging for transport to DCLS. Samples must be received by DCLS within 72 hours of collection.  
10. Samples must be transported on frozen cold packs to keep them refrigerated at 2-8°C during transport. 
11. Fill in the DCLS Test Request Form (16857) completely:
a. Include the patient information, collection date, time of collection, signs/symptoms, date of symptom onset, antibiotics administered, and dates antibiotics administered. Include a VDH outbreak ID if applicable.
b. The results will only be called to the submitter listed on the form. Be sure the telephone number on the form is the number of the SUBMITTER.  
c. VDH Division of Surveillance and Investigation will be notified of all positive Bordetella pertussis results.
	INSTRUCTIONS FOR SAMPLE TRANSPORT


Package samples for transport to the laboratory in compliance with the shipping regulations detailed in IATA 1.5 and 49 CFR Section 1720700 [U.S. Department of Transportation].

DCLS Courier Shipping Guidelines:
1. The following should be included for EACH PATIENT:  one flocked swab in VTM, one tube of Regan-Lowe Transport Medium containing calcium alginate swab(s), and the completed DCLS Test Request Form (16857)
2. Place the Regan-Lowe tube in the bubble wrap sleeve provided.

3. Place the Regan-Lowe and VTM tubes in the biohazard bag with the absorbent pad in the sealable pouch of the biohazard bag. Seal bag completely.

4. Place the completed DCLS Test Request Form (16857) in the outside pouch of the biohazard bag.

5. Ship specimens on frozen cold packs to keep them refrigerated at 2-8°C during transport.
6. Place the bag containing the specimens in a box or cooler addressed to DCLS.
7. Place the container in the DCLS courier pick-up site at your facility for next-day delivery.
	ADDITIONAL INFORMATION


Contact Information:
· For additional information or to ask questions during business hours, please contact any of the following:

· Dr. LaToya Griffin-Thomas, Lead Scientist: (804)648-4480 x281

· Sean Kelly, Molecular Detection and Characterization Group Manager: (804)648-4480 x227

· Emily Craig, Microbial Reference Group Manager: (804)648-4480 x210

· If assistance is required after hours, please call the DCLS Emergency line: (804)335-4617

Sample Rejection:
· Samples may be rejected for the following reasons:

· Specimen received out of the appropriate temperature range (2-8°C) 

· Samples received by the laboratory more than 72 hours after sample collection

· Unlabeled or incorrectly labeled samples

· DCLS Test Request Form (16857) incomplete or absent

· Samples that have leaked during transport

· Samples with insufficient media volume

· Samples transported in expired media

· Incorrect specimen type (swab site or transport media type)

Document #:16859
Revision: 7
Date Published: 12/22/25
Issuing Authority: Group Manager

Page 1 of 2      

Title: Bordetella Pertussis PCR and Bacterial Culture Testing at DCLS
Document #:16859
Revision: 7
Date Published: 12/22/25
Issuing Authority: Group Manager

Page 2 of 2      


