DGS-30-151											CO-13.3s

(Rev. 10/24)

CHECKLIST FOR SUBSTANTIAL COMPLETION INSPECTION

Agency:						Project Code:

Project Name:					Building:

Agency Representative:				VUSBC Edition:

Inspection by the A/E and Agency is required before the Substantial Completion Inspection.  Assure that the following items are complete in accord with the Permit Documents or indicate not applicable (N/A) prior to requesting the Substantial Completion Inspection.

General Safety

___	Floor finishes

___	Construction debris removed

Site / Building Accessibility

___	Accessible route(s) to the public way

Means of Egress

___	Exit Access / Exit / Exit Discharge

___ 	Delayed egress / Access controlled locks

___	Door Hardware

___	Fire doors

___	Exit signs

___	Normal Power Egress Lighting

___	Emergency Power Egress Lighting

Fire Safety

___	Fire alarm system

___	Fire suppression system

___	Mass Notification System

___	In-Building Emergency Communications Coverage

___	Elevator Lobby Two-way communication

HVAC

___	Ventilation air flow

___	Exhaust air flow

___	Special Systems (dust collection, kitchen hoods)

Electrical

___	Boxes (junction, pull)

___	Energy storage systems rapid shutdown

___	Emergency power sources

___	Assistive Listening Systems

___	Ground-fault Protection System Performance Test

___	Photovoltaic Rapid Shutdown Functional Test

Plumbing

___	Fixtures

___	Lab gases

___	Secondary roof drainage

Required Documentation

The following documents are required to be submitted (as applicable) to DEB by the Agency prior to requesting the Substantial Completion Inspection.

___	State Fire Marshal Inspection Report (VCC 103.7)

___	Elevator Inspection report (ASME A17.2 via COV§36-105)

___	Document stating that Asbestos Abatement is complete

___	Refrigeration Contractor or Engineer Declaration (VMC 1110.8)

___	HVAC Testing and Balancing Report (VMC 608)

___	Potable Water Report (VPC 610.1)

___	DOLI Boiler and Pressure Vessel Safety Certification (COV 40.1-51.5)

___	Smoke Control and Stairwell Pressurization Report (VCC 909.18.8 Special Inspector Requirements,) Building Official Witness Test (VCC 909.20.7.3) may be witnessed at time of substantial completion.

I have inspected as noted above and conclude that the building is substantially complete and have submitted the applicable Required Documentation.

Agency Representative Name 	_____________________________

Agency Representative Signature  ______________________________          	Date ___________________