## Instructions
DGS-30-382 (Rev. 07/21)
DGS-30-382 Instructions
1) | Complete VEES Checklist project information.
(Click on the "DGS-30-382" tab below to access it.)
| a. | INSTITUTION/AGENCY
| b. | PROJECT TITLE
| c. | PROJECT NO
| d. | DATE
| e. | A/E OF RECORD
| f | CONTRACTOR
2) | Modifying the default value in the "Applicable to Project (Y/N)" column for each row to the appropriate value for this project
(Click on the "DGS-30-382" tab below to access it.)
3) | Provide a comment in the "Remark / Justification" column for all rows marked with a "N" in the "Applicable to Project (Y/N)" column
(Click on the "DGS-30-382" tab below to access it.)
4) | Include a copy of the completed DGS-30-382 Form in the Project Manual.
Visit the DEB's webpage (https://dgs.virginia.gov/deb/) for our current address, current forms, the CPSM, DEB Notices, and other useful information.

## DGS-30-382
DGS-30-382 (Rev. 04/24) | [5 empty] | VEES CHECKLIST
INSTITUTION/AGENCY:
PROJECT TITLE:
PROJECT NO: | [5 empty] | xxx-xxxxx-xxx
DATE:
A/E OF RECORD:
CONTRACTOR:
[7 empty] | Applicable to Project (Y/N) | Remarks / Justification
(IgCC 2021 as modified by the current CPSM edition)
Chapter 4 - Applicability
| 401.2 Compliance | [5 empty] | Y
|  | a. VEES Chapters 5 through 11 |  |  |  |  | Y | Identify only one compliance path: a. VEES, b. LEED, -OR- c. Green Globes
|  | b. LEED Certified |  |  |  |  | N
|  | c. Green Globes Certified |  |  |  |  | N
| 401.3 Mandatory Provisions | [5 empty] | Y
|  | 401.3.1 Electric Vehicle Parking Spaces/Charging Stations |  |  |  |  | Y
|  | 401.3.2 Minimum Energy Monitoring, Tracking, and Reporting |  |  |  |  | Y
|  |  | 401.3.2.1 Basic Building Information For Energy Reporting |  |  |  | Y
Building Gross Floor Area, ft2
Energy Supply Sources Provided to the Building (i.e., Electricity, Water, Natural Gas, Steam, etc.)
Building Function (Broad Category, Primary Function, Detailed Function)
Median Source U.S. Energy Use Intensity (Median Source EUI), kBTU/ft2
Median Site U.S. Energy Use Intensity (Median Site EUI), kBTU/ft2
|  |  | 401.3.2.2 Energy Monitoring |  |  |  | Y
|  |  | 401.3.2.3 Energy Tracking |  |  |  | Y
|  |  | 401.3.2.4 Energy Reporting |  |  |  | Y
|  | 401.3.3 Documentation |  |  |  |  | Y
|  |  | 401.3.3.1 Statement of VEES Compliance |  |  |  | Y
|  |  | 401.3.3.2 Supporting Documentation |  |  |  | Y
Chapter 5 - Site Sustainability
| 501.3 Mandatory Provisions | [5 empty] | Y
|  | 501.3.1 Site Selection |  |  |  |  | Y
|  |  | 501.3.1.1 Allowable Sites |  |  |  | Y
|  |  | 501.3.1.2 Prohibited Development Activity |  |  |  | Y
|  | 501.3.2 Predesign Site Inventory and Assessment |  |  |  |  | Y
|  | 501.3.3 Plants |  |  |  |  | Y
|  |  | 501.3.3.1 Invasive Plants |  |  |  | Y
|  |  | 501.3.3.2 Greenfield Sites |  |  |  | Y
|  | 501.3.4 Stormwater Management |  |  |  |  | Y
|  |  | 501.3.4.1 Projects on Greenfields |  |  |  | Y
|  |  | 501.3.4.2 Projects on Greyfields |  |  |  | Y
|  |  | 501.3.4.3 Discharge Rate |  |  |  | Y
|  |  | 501.3.4.4 Adjoining Lots |  |  |  | Y
|  |  | 501.3.4.5 Discharges from Contaminated Soils |  |  |  | Y
|  |  | 501.3.4.6 Coal Tar Sealants |  |  |  | Y
|  | 501.3.5 Mitigation of Heat Island Effect |  |  |  |  | Y
|  |  | 501.3.5.1 Site Hardscape |  |  |  | Y
|  |  | 501.3.5.2 Walls |  |  |  | Y
|  |  | 501.3.5.3 Roofs |  |  |  | Y
|  |  | 501.3.5.4 Solar Reflectance Index |  |  |  | Y
|  |  | 501.3.5.5 Vegetated Terrace and Roofing Systems |  |  |  | Y
|  | 501.3.6 Reduction of Light Pollution |  |  |  |  | Y
|  |  | 501.3.6.1 Backlight, uplight, and glare (BUG) ratings |  |  |  | Y
|  | 501.3.7 Mitigation of Transportation Impacts |  |  |  |  | Y
|  |  | 501.3.7.1 Pedestrian and Bicycle Connectivity |  |  |  | Y
|  |  |  | 501.3.7.1.1 Pedestrian Walkways |  |  | Y
|  |  |  | 501.3.7.1.2 Bicycle Paths |  |  | Y
|  |  | 501.3.7.2 Bicycle Parking |  |  |  | Y
|  |  |  | 501.3.7.2.1 Minimum Number of Spaces |  |  | Y
|  |  |  | 501.3.7.2.2 Location |  |  | Y
|  |  |  | 501.3.7.2.3 Horizontal Parking Racks |  |  | Y
|  |  |  | 501.3.7.2.4 Ability to Lock |  |  | Y
|  |  |  | 501.3.7.2.5 Security and Visibility |  |  | Y
|  |  |  | 501.3.7.2.6 Documentation |  |  | Y
|  |  | 501.3.7.3 Electric vehicle charging facilities |  |  |  | Y
|  | 501.3.8 Building Site Waste Management |  |  |  |  | Y
|  |  | 501.3.8.1 Building Site Waste Management Plan |  |  |  | Y
Chapter 6 - Water Use Efficiency
| 601.3 Mandatory Provisions | [5 empty] | Y
|  | 601.3.1 Site Water Use Reduction |  |  |  |  | Y
|  |  | 601.3.1.1 Landscape Design |  |  |  | Y
|  |  | 601.3.1.2 Irrigation |  |  |  | Y
|  |  |  | 601.3.1.2.1 Irrigation system design |  |  | Y
|  |  |  | 601.3.1.2.2 Controls |  |  | Y
[5 empty] | 601.3.1.2.2.1 |  | Y
|  |  |  | 601.3.1.2.3 Irrigation of rainfall-ET compatible plants |  |  | Y
|  | 601.3.2 Building Water Use Reduction |  |  |  |  | Y
|  |  | 601.3.2.1 Plumbing Fixtures and Fittings |  |  |  | Y
|  |  | 601.3.2.2 Appliances |  |  |  | Y
|  |  | 601.3.2.3 HVAC Systems and Equipment |  |  |  | Y
|  |  | 601.3.2.4 Roofs |  |  |  | Y
|  |  | 601.3.2.5 Commercial Food Service Operations |  |  |  | Y | Part "F" deleted
|  |  | 601.3.2.6 Medical and Laboratory Facilities |  |  |  | Y
|  | 601.3.3 Hot-water distribution |  |  |  |  | Y
|  |  | 601.3.3.1 Maximum allowable pipe volume |  |  |  | Y
|  |  | 601.3.3.2 Maximum length |  |  |  | Y
|  | 601.3.4 Special water features |  |  |  |  | Y
|  | 601.3.5 Water consumption measurement |  |  |  |  | Y
|  |  | 601.3.5.1 Consumption management |  |  |  | Y
|  |  | 601.3.5.2 Consumption data collection |  |  |  | Y
|  |  | 601.3.5.3 Data storage amd retrieval |  |  |  | Y
|  | 601.3.6 Water Softners |  |  |  |  | Y
|  |  | 601.3.6.1 Demand-initiated regeneration |  |  |  | Y
|  |  | 601.3.6.2 Water consumption |  |  |  | Y
|  |  | 601.3.6.3 Waste connections |  |  |  | Y
|  |  | 601.3.6.4 Efficiency and listing |  |  |  | Y
|  | 601.3.7 Reverse osmosis water treatment |  |  |  |  | Y
|  | 601.3.8 On-site reclaimed water treatment systems |  |  |  |  | Y
|  | 601.3.9 Dual water supply plumbing |  |  |  |  | Y
Chapter 7 - Energy Efficiency
| 701.2 Compliance | [5 empty] | Y
|  | a. Prescriptive Option, Section 701.4 |  |  |  |  | Y | Identify only one compliance path: a. Prescriptive -OR- b. Performance
|  | b. Performance Option, Section 701.5 |  |  |  |  | N
| 701.3 Mandatory Provisions | [5 empty] | Y
|  | 701.3.1 General |  |  |  |  | Y
|  |  | 701.3.1.1 Climate zones |  |  |  | Y
|  |  | 701.3.1.2 Continuous air barrier |  |  |  | Y
|  | 701.3.2 On-Site Renewable Energy Systems |  |  |  |  | Y
|  | 701.3.3 Energy Consumption Management |  |  |  |  | Y
|  |  | 701.3.3.1 Consumption Management |  |  |  | Y
|  |  | 701.3.3.2 Energy Consumption Data Collection and Display |  |  |  | Y
|  |  | 701.3.3.3 Data Storage and Retrieval |  |  |  | Y
|  | 701.3.4 Automated Demand Response |  |  |  |  | Y
|  |  | 701.3.4.1 HVAC Systems Zone Set Points |  |  |  | Y | Part "C" deleted
|  |  | 701.3.4.2 Variable-Speed Equipment |  |  |  | Y
|  |  | 701.3.4.3 Lighting |  |  |  | Y
|  | 701.3.5 Fault detection and diagnostics (FDD) |  |  |  |  | Y
| 701.4 Prescriptive Option | [5 empty] | Y
|  | 701.4.1 On-Site Renewable Energy Systems |  |  |  |  | Y
|  |  | 701.4.1.1 Renewable energy systems |  |  |  | Y
|  |  |  | Standard Renewables Approach Baseline On-Site Renewable Energy Systems |  |  | Y | Identify only one Renewables Approach: Standard -OR- Alternate
|  |  |  | Alternate Renewables Approach Reduced On-Site Renewable Energy Systems and Higher-Efficiency Equipment |  |  | N
|  |  | 701.4.1.2 Adjustable renewable energy |  |  |  | Y
|  |  | 701.4.1.3 Off-site renewable energy requirements |  |  |  | Y
|  | 701.4.2 Building Envelope |  |  |  |  | Y
|  |  | 701.4.2.1 Building Envelope Requirements |  |  |  | Y
|  |  | 701.4.2.2 Mechanical equipment penetration requirements |  |  |  | Y
|  |  | 701.4.2.3 Single-Rafter Roof Insulation |  |  |  | Y
|  |  | 701.4.2.4 High-speed doors |  |  |  | Y
|  |  | 701.4.2.5 Air curtains |  |  |  | Y
|  |  | 701.4.2.6 Vertical fenestration area |  |  |  | Y
|  |  | 701.4.2.7 Permananet projections |  |  |  | Y
|  |  | 701.4.2.8 SHGC of north-facing vertical fenestraton |  |  |  | Y
|  |  | 701.4.2.9 Building envelope trade-off option |  |  |  | Y
|  |  | 701.4.2.10 Orientation |  |  |  | Y
|  | 701.4.3 Heating, Ventilating, and Air Conditioning |  |  |  |  | Y
|  |  | 701.4.3.1 Minimum Equipment Efficiencies for the Alternate Renewables Approach |  |  |  | N | Not Applicable - Alternate Renewables Approach Not Selected
|  |  |  | 701.4.3.1.1 Water-cooled centrifugal chiller packages efficency adjustment |  |  | N
|  |  | 701.4.3.2 Ventilation Controls for Densely Occupied Spaces |  |  |  | Y
|  |  | 701.4.3.3 Duct Leakage test |  |  |  | Y
|  |  | 701.4.3.4 Economizers |  |  |  | Y
|  |  | 701.4.3.5 Zone Controls |  |  |  | Y
|  |  | 701.4.3.6 Fan System Power and Efficiency |  |  |  | Y
|  |  |  | 701.4.3.6.1 Fan System Power Limitation |  |  | Y
|  |  |  | 701.4.3.6.2 Fan Efficiency |  |  | Y
|  |  |  | 701.4.3.6.3 Low-power ventilation systems |  |  | Y
|  |  | 701.4.3.7 Exhaust Air Energy Recovery |  |  |  | Y
|  |  | 701.4.3.8 Kitchen Exhaust Systems |  |  |  | Y
|  |  |  | 701.4.3.8.1 |  |  | Y
|  |  |  | 701.4.3.8.2 |  |  | Y
|  |  | 701.4.3.9 Automatic control of HVAC and lights in hotel/motel guest rooms |  |  |  | Y
|  |  |  | 701.4.3.9.1 Lighting and Switched Outlet Control |  |  | Y
|  |  |  | 701.4.3.9.2 Television Control |  |  | Y
|  |  |  | 701.4.3.9.3 HVAC Set-Point Control |  |  | Y
|  |  |  | 701.4.3.9.4 Ventilation Control |  |  | Y
|  | 701.4.4 Service Water Heating |  |  |  |  | Y
|  |  | 701.4.4.1 Equipment Efficiency for the Alternate Renewables Approach |  |  |  | N | Not Applicable - Alternate Renewables Approach Not Selected
|  |  | 701.4.4.2 Buildings with high-capacity service water heating systems |  |  |  | Y
|  |  | 701.4.4.3 Insulation for spa pools |  |  |  | Y
|  | 701.4.5 Power |  |  |  |  | Y
|  | 701.4.6 Lighting |  |  |  |  | Y
|  |  | 701.4.6.1 Lighting Power Allowance |  |  |  | Y
|  |  |  | 701.4.6.1.1 Interior Lighting Power Densities |  |  | Y
|  |  |  | 701.4.6.1.2 Exterior LPDs |  |  | Y
|  |  | 701.4.6.2 Dwelling units |  |  |  | Y
|  |  | 701.4.6.3 Interior Lighting Controls |  |  |  | Y
|  |  |  | 701.4.6.3.1 Occupancy sensor controls in commercial and industrial storage stacks |  |  | Y
|  |  |  | 701.4.6.3.2 Automatic controls for egress and security lighting |  |  | Y
|  |  |  | 701.4.6.3.3 Occupancy sensoring control in large office spaces |  |  | Y
|  |  | 701.4.6.4 Exterior Lighting controls |  |  |  | Y
701.4.6.4.1 Controls for exterior sign lighting
[5 empty] | 701.4.6.4.1.1 |  | Y
[5 empty] | 701.4.6.4.1.2 |  | Y
|  |  |  | 701.4.6.4.2 Parking and outdoor sales lighting |  |  | Y
|  |  | 701.4.6.5 Dwelling unit Lighting controls |  |  |  | Y
|  | 701.4.7 Other Equipment |  |  |  |  | Y
|  |  | 701.4.7.1 Equipment Efficiency for the Alternate Renewables Approach |  |  |  | N | Not Applicable - Alternate Renewables Approach Not Selected
|  |  | 701.4.7.2 Supermarket Heat Recovery |  |  |  | Y
|  |  | 701.4.7.3 Energy Star Equipment |  |  |  | Y
|  |  |  | 701.4.7.3.1 Energy Star Requirements for Equipment Not Covered by Federal Appliance Efficiency Regulations (all bulding projects) |  |  | Y
|  |  |  | 701.4.7.3.2 Energy Star Requirements for Equipment Covered by Federal Appliance Efficiency Regulations (alternate renewables approach) |  |  | N | Not Applicable - Alternate Renewables Approach Not Selected
|  |  | 701.4.7.4 Programmable Thermostats |  |  |  | Y
|  |  | 701.4.7.5 Refrigerated Display Cases |  |  |  | Y
|  |  | 701.4.7.6 Elevator power conversion system |  |  |  | Y
|  |  | 701.4.7.7 Pump efficiency |  |  |  | Y
|  | 701.4.8 Energy Cost Budget |  |  |  |  | Y
| 701.5 Performance Option | [5 empty] | N | Not Applicable - Performance Option Not Selected
|  | 701.5.1 Annual Energy Cost |  |  |  |  | N | Not Applicable - Performance Option Not Selected
|  |  | 701.5.1.1 Compliance with ANSI/ASHRAE/IES Standard 90.1 without renewables |  |  |  | N | Not Applicable - Performance Option Not Selected
|  | 701.5.2 Annual Carbon Dioxide Equivalent (CO2e) |  |  |  |  | N | Not Applicable - Performance Option Not Selected
|  | 701.5.3 Zero energy performance index |  |  |  |  | N | Not Applicable - Performance Option Not Selected
|  | 701.5.4 Energy simulation aided design |  |  |  |  | N | Not Applicable - Performance Option Not Selected
Chapter 8 - Indoor Environmental Quality
| 801.2 Compliance | [5 empty] | Y
|  | a1. Daylighting Prescriptive Option, Section 801.4.1 |  |  |  |  | Y | Identify either the prescriptive option or the performance option for each: Daylighting: a1. Prescriptive -OR- b1. Performance Materials: a2. Prescriptive -OR- b2. Performance Lighting: a3. Prescriptive -OR- b3. Performance
|  | a2. Materials Prescriptive Option, Section 801.4.2 |  |  |  |  | Y
|  | a3. Lighting for Presentations Prescriptive Option, Section 801.4.3 |  |  |  |  | Y
|  | b1. Daylighting Performance Option, Section 801.5.1 |  |  |  |  | N
|  | b2. Materials Performance Option, Section 801.5.2 |  |  |  |  | N
|  | b3. Lighting for Performance Prescriptive Option, Section 801.5.3 |  |  |  |  | N
| 801.3 Mandatory Provisions | [5 empty] | Y
|  | 801.3.1 Indoor Air Quality |  |  |  |  | Y
|  |  | 801.3.1.1 Minimum Ventilation rates |  |  |  | Y
|  |  | 801.3.1.2 Outdoor Air Delivery monitoring |  |  |  | Y
|  |  |  | 801.3.1.2.1 System Design for Outdoor Air Intake Measurement |  |  | Y
|  |  |  | 801.3.1.2.2 Monitoring Requirements |  |  | Y
|  |  | 801.3.1.3 Filtration Air Cleaner Requirements |  |  |  | Y
|  |  | 801.3.1.4 Building Pressure |  |  |  | Y
|  |  |  | 801.3.1.4.1 Mechanical Exhaust |  |  | Y
|  |  |  | 801.3.1.4.2 Exfiltration |  |  | Y
|  |  | 801.3.1.5 Venting of Combustion Products |  |  |  | Y
|  |  |  | 801.3.1.5.1 Vented Combustion |  |  | Y
|  |  |  | 801.3.1.5.2 Ranges in Residential Spaces |  |  | Y
|  |  | 801.3.1.6 Humidity Control |  |  |  | Y
|  |  |  | 801.3.1.6.1 Cooling Coils |  |  | Y
|  |  |  | 801.3.1.6.2 Direct Evaporative Cooling |  |  | Y
|  |  | 801.3.1.7 Environmental Tobacco Smoke |  |  |  | Y
|  |  | 801.3.1.8 Building Entrances |  |  |  | Y
|  |  |  | 801.3.1.8.1 Scraper Surface |  |  | Y
|  |  |  | 801.3.1.8.2 Absorption Surface |  |  | Y
|  |  |  | 801.3.1.8.3 Finishing Surface |  |  | Y
|  |  | 801.3.1.9 Guest Room Preoccupancy Outdoor Air Purge Cycle |  |  |  | Y
|  |  | 801.3.1.10 Preoccupancy Ventilation Control |  |  |  | Y
|  | 801.3.2 Thermal Environmental Conditions for Human Occupancy |  |  |  |  | Y
|  | 801.3.3 Acoustical Control |  |  |  |  | Y
|  |  | 801.3.3.1 Documentation |  |  |  | Y
|  |  |  | 801.3.3.1.1 Test Methods |  |  | Y
|  |  | 801.3.3.2 Interior Background Noise Requirements |  |  |  | Y
|  |  |  | 801.3.3.2.1 High-Noise Exterior Events |  |  | Y
|  |  |  | 801.3.3.2.2 Conformance |  |  | Y | Identify only one conformance method: Design -or- Testing
|  |  |  | 801.3.3.2.3 Interior Background Noise—Design |  |  | Y
[5 empty] | 801.3.3.2.3.1 Building Envelope |  | Y
[5 empty] | 801.3.3.2.3.2 Interior Systems |  | Y
[5 empty] | 801.3.3.2.3.3 Penetrations and Fenestrations |  | Y
[5 empty] | 801.3.3.2.3.4 Inspection |  | Y
|  |  |  | 801.3.3.2.4 Interior Background Noise—Testing |  |  | N | N/A - Testing Conformance Option Not Selected
|  |  | 801.3.3.3 Interior Sound Transmission |  |  |  | Y
|  |  |  | 801.3.3.3.1 Conformance |  |  | Y | Identify only one conformance method: Design -or- Testing
|  |  |  | 801.3.3.3.2 Interior Sound Transmission—Design |  |  | Y
[5 empty] | 801.3.3.3.2.1 Inspection |  | Y
|  |  |  | 801.3.3.3.3 Interior Sound Transmission—Testing |  |  | N | N/A - Testing Conformance Option Not Selected
|  |  | 801.3.3.4 Interior Sound Reverberation |  |  |  | Y
|  |  | 801.3.3.5 Property Line Sound Levels |  |  |  | Y | Identify only one conformance method: Design -or- Testing
|  |  |  | 801.3.3.5.1 Property Line Sound Levels—Design |  |  | Y
|  |  |  | 801.3.3.5.2 Property Line Sound Levels—Testing |  |  | N | N/A - Testing Conformance Option Not Selected
|  | 801.3.4 Soil-Gas Control |  |  |  |  | Y
|  |  | 801.3.4.1 Soil-Gas Control Systems |  |  |  | Y | Select either 801.3.4.1 -OR- 801.3.4.2
|  |  |  | 801.3.4.1.1 Soil-Gas Barriers |  |  | Y
|  |  |  | 801.3.4.1.2 Gas-Permeable Layer and Soil-Gas Conveyance |  |  | Y
[5 empty] | 801.3.4.1.2.1 Soil-Gas Conveyance Clearance and Dimension |  | Y
[5 empty] | 801.3.4.1.2.2 Connections to Exhaust Vent Pipes |  | Y
|  |  |  | 801.3.4.1.3 Soil-Gas Exhaust Vent Pipe |  |  | Y
|  |  | 801.3.4.2 Alternative Methods of Soil-Gas Control |  |  |  | N | Not Applicable - Alternative Method Not Selected
|  | 801.3.5 Lighting Quality |  |  |  |  | Y
|  |  | 801.3.5.1 Controllability |  |  |  | Y
|  |  | 801.3.5.2 Lighting control labeling for multioccupant spaces |  |  |  | Y
|  |  | 801.3.5.3 Color rendition |  |  |  | Y
|  |  | 801.3.5.4 Flicker |  |  |  | Y
|  |  |  | 801.3.5.4.1 Percent amplulitude modulation |  |  | Y
|  |  |  | 801.3.5.4.2 Stroboscopic visibility measure and short-term flcker indicator |  |  | Y
|  | 801.3.6 Moisture Control |  |  |  |  | Y
|  |  | 801.3.6.1 Exterior Building Envelope |  |  |  | Y
|  |  | 801.3.6.2 Humid Spaces |  |  |  | Y
|  |  |  | 801.3.6.2.1 |  |  | Y
|  |  |  | 801.3.6.2.2 |  |  | Y
|  | 801.3.7 Glare Control |  |  |  |  | Y | Note: Exception 1 applies to all of Virginia
|  | 801.3.8 Occupant Override |  |  |  |  | Y
|  | 801.3.9 Exterior views |  |  |  |  | Y
| 801.4 Prescriptive Option | [5 empty] | Y
|  | 801.4.1 Daylighting |  |  |  |  | Y
|  |  | 801.4.1.1 Daylighting in Large Spaces Directly Under a Roof and Having High Ceilings |  |  |  | Y
|  |  |  | 801.4.1.1.1 Minimum Daylight Area |  |  | Y
|  |  |  | 801.4.1.1.2 Visible Transmittance (VT )of Skylights and Roof Monitors |  |  | Y
|  |  |  | 801.4.1.1.3 Skylight Optical Diffusion Characteristics |  |  | Y
|  |  | 801.4.1.2 Minimum Sidelighting Effective Aperture |  |  |  | Y
|  |  | 801.4.1.3 Shading for Offices |  |  |  | Y
|  | 801.4.2 Materials |  |  |  |  | Y
|  |  | 801.4.2.1 Adhesives and Sealant |  |  |  | Y
|  |  |  | 801.4.2.1.1 Emissions Requirements |  |  | Y
|  |  |  | 801.4.2.1.2 VOC Content Requirements |  |  | Y
|  |  | 801.4.2.2 Paints and Coatings |  |  |  | Y
|  |  |  | 801.4.2.2.1 Emissions Requirements |  |  | Y
|  |  |  | 801.4.2.2.2 VOC Content Requirements |  |  | Y
|  |  | 801.4.2.3 Floor Covering Materials |  |  |  | Y
|  |  |  | 801.4.2.3.1 Deemed to Comply |  |  | Y
|  |  | 801.4.2.4 Composite Wood products, Agrifiber Products, hardwood plywood products and laminated products |  |  |  | Y
|  |  | 801.4.2.5 Office Furniture Systems and Seating |  |  |  | Y
|  |  |  | 801.4.2.5.1—95% comply with ANSI/BIFMAX7.1 |  |  | Y
|  |  |  | 801.4.2.5.2—50% comply with Section 7.6.2 of ANSI/BIFMA e3 |  |  | Y
|  |  | 801.4.2.6 Ceiling and Wall Assemblies and Systems |  |  |  | Y
|  |  |  | 801.4.2.6.1 Deemed to Comply |  |  | Y
|  |  | 801.4.2.7 Insulation |  |  |  | Y
|  | 801.4.3 Lighting for Presentations |  |  |  |  | Y
| 801.5 Performance Option | [5 empty] | N | Not Applicable - Perfomance Options Not Selected
|  | 801.5.1 Daylight Simulation |  |  |  |  | N | N/A - Perfomance Daylighting Option Not Selected
|  |  | 801.5.1.1 Minimum Daylight |  |  |  | N | N/A - Perfomance Daylighting Option Not Selected
|  |  | 801.5.1.2 Excessive Sunlight |  |  |  | N | N/A - Perfomance Daylighting Option Not Selected
|  | 801.5.2 Materials |  |  |  |  | N | N/A - Perfomance Materials Option Not Selected
|  | 801.5.3 Lighting for Presentations |  |  |  |  | N | N/A - Perfomance Lighting Option Not Selected
Chapter 9 - Materials and Resources
| 901.2 Compliance | [5 empty] | Y
|  | a. Prescriptive Option, Section 901.4 |  |  |  |  | Y | Identify only one compliance path: a. Prescriptive -OR- b. Performance
|  | b. Performance Option, Section 901.5 |  |  |  |  | N
| 901.3 Mandatory Provisions | [5 empty] | Y
|  | 901.3.1 Construction and demolition waste management |  |  |  |  | Y
|  |  | 901.3.1.1 Diversion |  |  |  | Y
|  |  | 901.3.1.2 Total Waste |  |  |  | Y
|  |  | 901.3.1.3 Construction and demolition waste management plan |  |  |  | Y
|  | 901.3.2 Extracting, Harvesting, and/or Manufacturing |  |  |  |  | Y
|  | 901.3.3 Refrigerants |  |  |  |  | Y
|  | 901.3.4 Areas for Storage of Collection of Recyclables and Discarded Goods |  |  |  |  | Y
|  |  | 901.3.4.1 Recyclables |  |  |  | Y
|  |  | 901.3.4.2 Reusable Goods |  |  |  | Y
|  |  | 901.3.4.3 Fluorescent and High Intensity Discharge (HID) Lamps and Ballasts |  |  |  | Y
|  |  | 901.3.4.4 Electronics and Batteries |  |  |  | Y
|  | 901.3.5 Mercury Content Levels of Lamps |  |  |  |  | Y
| 901.4 Prescriptive Option | [5 empty] | Y
|  | 901.4.1 Reduced Impact Materials |  |  |  |  | Y
|  |  | 901.4.1.1 Recycled Content and Salvaged Material Content |  |  |  | Y
|  |  |  | 901.4.1.1.1 Recycled Content |  |  | Y
|  |  |  | 901.4.1.1.2 Salvaged Material Content |  |  | Y
|  |  | 901.4.1.2 Regional Materials |  |  |  | Y
|  |  | 901.4.1.3 Biobased Products |  |  |  | Y
|  |  |  | 901.4.1.3.1 Wood building components |  |  | Y
|  |  | 901.4.1.4 Multiple-Attribute Product Declaration or Certification |  |  |  | Y
|  |  |  | 901.4.1.4.1 Industry-Wide Declaration |  |  | Y
|  |  |  | 901.4.1.4.2 Product-Specific Declaration |  |  | Y
|  |  |  | 901.4.1.4.3 Third-Party Multiattribute Certification |  |  | Y
|  |  |  | 901.4.1.4.4 Product Life Cycle |  |  | Y
| 901.5 Performance Option | [5 empty] | N | Not Applicable - Performance Option Not Selected
|  | 901.5.1 Life-Cycle Assessment (LCA) |  |  |  |  | N | Not Applicable - Performance Option Not Selected
|  |  | 901.5.1.1 LCA Performance Metric |  |  |  | N | Not Applicable - Performance Option Not Selected
|  |  | 901.5.1.2 Procedure |  |  |  | N | Not Applicable - Performance Option Not Selected
|  |  | 901.5.1.3 Reporting |  |  |  | N | Not Applicable - Performance Option Not Selected
Chapter 10 - Construction and Plans for Operation
| 1001.3 Functional and performance testing and commissioning | [5 empty] | Y
|  | 1001.3.1 Building systems functional and perfomance testing |  |  |  |  | Y
|  |  | 1001.3.1.1 FPT requirements |  |  |  | Y
|  |  | 1001.3.1.2 Activities prior to bulding permit for facilities using the FPT process |  |  |  | Y
|  |  | 1001.3.1.3 Activities prior to building occupancy for facilities using the FPT process |  |  |  | Y
|  |  | 1001.3.1.4 Documentation |  |  |  | Y
|  | 1001.3.2 Building project commissioning (Cx) Process |  |  |  |  | Y
|  |  | 1001.3.2.1 Systems to be commissioned |  |  |  | Y
|  |  | 1001.3.2.2 Cx activites prior to building permit |  |  |  | Y
|  |  | 1001.3.2.3 Cx activites prior to building occupancy |  |  |  | Y
|  |  | 1001.3.2.4 Postoccupancy Cx activities |  |  |  | Y
|  |  | 1001.3.2.5 Project Cx documents |  |  |  | Y
|  |  |  | 1001.3.2.5.1 Cx plan |  |  | Y
|  |  |  | 1001.3.2.5.2 Design review report |  |  | Y
|  |  |  | 1001.3.2.5.3 Preliminary Cx report |  |  | Y
|  |  |  | 1001.3.2.5.4 Final Cx report |  |  | Y
|  |  |  | 1001.3.2.5.5 Documentation |  |  | Y
| 1001.4 Construction operations and start-up requirements | [5 empty] | Y
|  | 1001.4.1 Erosion and sedimentation control |  |  |  |  | Y | Section deleted
|  | 1001.4.2 IAQ Construction management |  |  |  |  | Y
|  | 1001.4.3 Construction activity pollution prevention: idling of construction vehicles |  |  |  |  | Y
|  | 1001.4.4 Construction activity pollution prevention: protection of occupied areas |  |  |  |  | Y
|  | 1001.4.5 Construction and demolition waste management |  |  |  |  | Y
|  |  | 1001.4.5.1 Collection |  |  |  | Y
|  |  | 1001.4.5.2 Documentation |  |  |  | Y
| 1001.5 Acoustical field measurement | [5 empty] | Y
|  | 1001.5.1 Interior background sound levels |  |  |  |  | Y
|  | 1001.5.2 Interior sound transmission |  |  |  |  | Y
|  | 1001.5.3 Property line sound |  |  |  |  | Y
| 1001.6 Building envelope airtightness | [5 empty] | Y
| 1001.7 Postconstruction building flush-out and air monitoring | [5 empty] | Y | Choose flush-out or IAQ monitoring
|  | 1001.7.1 Postconstruction, preoccupancy flush-out |  |  |  |  | Y
|  | 1001.7.2 Postconstruction, preoccupancy baseline IAQ monitoring |  |  |  |  | N
| 1001.8 Soil-gas control | [5 empty] | Y
| 1001.9 Plans for high-performance buidling operation | [5 empty] | Y
|  | 1001.9.1 Site sustainability |  |  |  |  | Y
|  | 1001.9.2 Water use efficiency |  |  |  |  | Y
|  |  | 1001.9.2.1 Initial M&V |  |  |  | Y
|  |  | 1001.9.2.2 Track and assess water use |  |  |  | Y
|  |  | 1001.9.2.3 Documentation of water use |  |  |  | Y
|  | 1001.9.3 Energy effciency |  |  |  |  | Y
|  |  | 1001.9.3.1 Initial M&V |  |  |  | Y
|  |  | 1001.9.3.2 Track all assess energy consumption |  |  |  | Y
|  |  | 1001.9.3.3 Documentation of energy efficiency |  |  |  | Y
|  | 1001.9.4 IAQ |  |  |  |  | Y
|  |  | 1001.9.4.1 Outdoor airflow measurement |  |  |  | Y
|  |  | 1001.9.4.2 Outdoor airflow scheduling |  |  |  | Y
|  |  | 1001.9.4.3 Outdoor airflow documentation |  |  |  | Y
|  |  | 1001.9.4.4 IAQ maintenance and monitoring |  |  |  | Y
|  |  | 1001.9.4.5 Outdoor air ozone air cleaners |  |  |  | Y
|  | 1001.9.5 Building green cleaning plan |  |  |  |  | Y
|  | 1001.9.6 Moisture measurement |  |  |  |  | Y
|  | 1001.9.7 Indoor environmental quality survey |  |  |  |  | Y
|  | 1001.9.8 Renewable energy certificate tracking |  |  |  |  | Y
|  | 1001.9.9 Renewable energy allocation to multiple buildings |  |  |  |  | Y
|  | 1001.9.10 Maintenance plan |  |  |  |  | Y
| 1001.10 Service Life Plan | [5 empty] | Y
| 1001.11 Transportation management plan | [5 empty] | Y
|  | 1001.11.1 All building projects |  |  |  |  | Y
|  | 1001.11.2 Owner-occupied building projects or portions of building projects |  |  |  |  | Y
|  | 1001.11.3 Building tenant |  |  |  |  | Y