Commonwealth of Virginia

Department of General Services

Division of Consolidated Laboratory Services

Richmond, Virginia

Mpox Testing Instructions

All testing must be approved by the Virginia Department of Health (VDH) before testing can be performed at DCLS. Please contact your local Health Department for consultation.

	TESTING
	SAMPLE
	 TEMPERATURE

	Type / Tier / Agents Detected
	TAT
	Type
	Collection
	Storage
	Transport/Receipt

	Poxvirus Real Time PCR Tests (Tier 1): 

· Non-variola Orthopoxvirus (VAC)

· Varicella Zoster Virus (VZV)

· RNase P (human DNA internal control)


	Same day ¥ (Mon. – Fri.)
	· Dry lesion swabs¥¥
· Synthetic swabs 

(nylon, polyester, Dacron)

Cotton swabs are not accepted
	· Multiple body sites 

· Paired (x2) swabs per body site
Label body site on each sample tube


	· Refrigerate within 1 hour of collection
· Store refrigerated up to 7 days

	· Transport to DCLS w/in 7 days of collection

· Samples must be received at 2-8°C
Samples received outside of temperature range will be REJECTED

	Mpox Clade Real Time PCR Tests (Tier 2)*: 

· Mpox virus 

· Mpox virus - Clade Ia**
· Mpox virus - Clade II 

· RNase P (human DNA internal control)
	Within 2 business days of tier 1 testing
	
	
	
	


DCLS TESTING:
   * NOTE: VAC PCR-positive samples are reflexed to Mpox Clade testing. Clade testing is prioritized as Tier 1 for clade-specific outbreaks/investigations.

 ** NOTE: Clade Ib testing will require a combination of VAC and Mpox Clade Real Time PCR testing.
     ¥ NOTE: High-priority cases can be tested outside of normal business hours upon Epi request.
  ¥¥ NOTE: Swabs for specimen collection can be provided by the DCLS Kits Department at DCLS_SSSKits@dgs.virginia.gov.

SUBMISSION INSTRUCTIONS:

· Include a completed DCLS Test Request Form (#16857) for each patient to be tested. It is imperative that the following data accompany specimens submitted:  

 1)  Complete submitter information           4) Date and Time of collection 

 2)  Patient name and date of birth              5) Symptoms and Onset date

 3)  Body site(s) swabbed                              6) Indicate Mpox testing for “Other” testing                            

SUBMISSION NOTES:
· Samples submitted for Mpox testing CANNOT be submitted via Web Vision. Routine DCLS coolers can be used for submission.

· Samples submitted for Mpox testing SHOULD NOT be placed in the same cooler with other specimens submitted for testing at DCLS.

· Package specimens on adequate ice packs to maintain 2-8°C temperature and send via routine DCLS courier.
· Additional courier arrangements can be provided, as needed.
 RESULTS / REPORTING:

	AGENT
	RESULTS*
	AFTER-ACTIONS

	Non-variola Orthopoxvirus
	Positive (DNA Detected)
	Actionable result; Clade testing is performed

	
	Negative DNA not detected)
	Final, no additional testing needed

	
	Inconclusive (Internal control failure)
	Insufficient human DNA; Recollection advised 

	Varicella Zoster Virus
	Positive (DNA Detected) / Negative (DNA not detected)
	Final, no additional testing needed

	
	Inconclusive (Internal control failure)
	Insufficient human DNA; Recollection advised

	Mpox Clade I / Mpox Clade II
	Positive (DNA Detected)
	Final, no additional testing needed

	
	Negative (DNA not Detected) **
	Consultation with the CDC; Send duplicate swabs to CDC 

	
	Inconclusive (Internal control failure)
	Insufficient human DNA; Recollection advised


  *NOTE: Verbal reporting of results will be provided to the listed submitter. All reports will be issued within 1-2 business days after test completion.

 **NOTE: VAC PCR-positive + Clade I PCR-negative results are indicative of Mpox Clade 1b. Further testing at the CDC is required.

Points of Contact (DCLS):
· DCLS Emergency Number (24/7): 804-335-4617

· Dr. LaToya Griffin-Thomas (Biothreat/Special Pathogens Lead Scientist): 804-648-4480, x281

· Destiny Hairfield (Biothreat Response Principal Scientist): 804-648-4480, x154

· Dr. Neeti Dahal (Biothreat Response Group Manager): 804-648-4480, x410
· Terri Harper (Specimen Transport): 804-648-4480, x140                                    

REFERENCES:
DCLS Mpox Testing Instructions: https://dgs.virginia.gov/globalassets/business-units/dcls/documents/hot-topic-and-updates/monkeypox-testing-instructions_faq-44840-1.pdf
DCLS Test Request Form: https://dgs.virginia.gov/globalassets/document-center/dcls-forms/dcls-test-request-form-168572.pdf
Virginia Department of Health (VDH) - Health Department Locator: https://www.vdh.virginia.gov/health-department-locator/
Document #:44840
Revision: 3
Date Published: 09/30/24
Issuing Authority: Group Manager

Page 1 of 1      
Title: Mpox Testing Instructions
Document #:44840
Revision: 3
Date Published: 09/30/24
Issuing Authority: Group Manager

Page 2 of 2      

